## Sheet1
Microlens Array Calculator |  |  | Microlens Array Relay Calculator
(e.g. Nature Communications paper) |  |  | (e.g. Voyager with Prime 95B)
Fill in parameters: |  |  | Fill in parameters:
Pixel size camera | 0.016 | mm | Pixel size camera | 0.016 | mm
Microlens pitch | 2.39 | mm | Microlens pitch | 2.39 | mm
NA | 1.27 |  | NA | 1.27
f_obj | 3.33 | mm | f_obj | 3.3333 | mm
f_tube | 200 | mm | f_tube | 200 | mm
f_4f | 175 | mm | f_4f | 175 | mm
f_mla | 175 | mm | f_mla | 175 | mm
n_sample | 1.33 |  | f_r1 | 100 | mm
n_coverglass | 1.33 |  | f_r2 | 200 | mm
λ_ex | 640 | nm | n_sample | 1.33
λ_em | 680 | nm | n_coverglass | 1.33
|  |  | λ_ex | 640 | nm
|  |  | λ_em | 680 | nm
Results:
Magnification | 60.0601 |  | Results:
Diameter BFP aperture | 7.4009 | mm
Number of lenses in BFP | 3.0966 | lenses | Magnification | 60
Number of pixels in BFP | 462.5578 | pixels | Magnification of relay | 2
Number of pixels per lens | 149.375 | pixels | Total magnification | 120
Pixel size (physical) | 0.016 | mm | Diameter BFP aperture | 7.4083 | mm
Pixel size (back-projected) | 266.4 | nm | Number of lenses in BFP | 3.0997
NA_eff (per microlens) | 0.41012 |  | Number of pixels in BFP | 926.0417 | pixels
Resolution (Rayleigh) | 1011.4004 | nm | Number of pixels per lens | 298.75 | pixels
Sampling rate (2.3–5) | 3.7965 | px/res | Pixel size (physical) | 0.008 | mm
|  |  | Pixel size (back-projected) | 266.6667 | nm
|  |  | NA_eff (per microlens) | 0.40971
|  |  | Resolution (Rayleigh) | 1012.4128 | nm
|  |  | Sampling rate (2.3–5) | 3.7965 | px/res